PROJECT NAME: Energy efficiency Project
Country- Armenia 
Project number: TF 012163
Bid/ Contract number:  EE-CW-45/2015-1

Contract scope: Lot1.  Energy efficiency measures at Vardashen Penitentiary                                                                                                                                                                                                                                                                                                                                                                                                 
Contract signing date: July 09,  2015
Evaluation currency: AMD

Term: 14 months

Awarded Bidder

Name: Bedeck LLC
Address: Nekrasov str. 86, Yerevan, RA

Bid price in opening:   110.300.000 AMD

Net present value: 58.947.000 AMD
Energy efficiency rate: 60.1 %

The bid meets the submitted requirements.

Other Bidders

Name: Redinet CJSC
Address: Azatutyan ave. 24/7-24/8, Yerevan, RA

Bid price in opening:   156.697.200 AMD

Net present value: 23.210.000 AMD
Energy efficiency rate: 68.4 %

The bid meets the submitted requirements.

Name: Sarkoghi LLC
Address: Shahumyan 24, Yerevan, RA

Bid price in opening:   117.000.000 AMD

Net present value: 46.401.000 AMD
Energy efficiency rate: 52.3 %

The bid meets the submitted requirements.

Rejected Bidders

Name: Vanshin Group LLC
Address: Er. Qochar 23, Yerevan, RA

Bid price in opening:   91.500.000 AMD

Net present value: 29.816.000 AMD
Energy efficiency rate: 58.6 %

In the presented calculations the kWh of the heating has been wrongly estimated.