- Question: In the technical specification of 9th item of Lot 1 – Blood Components Irradiation Device – you have stated the following:   The exposure time to the level of absorbed dose 25Gy – 30Gy: availability

Can you specify the range of exposure time that will be acceptable for the mentioned instrument?

Answer: Taking into account that the different producers of such instrument types have different radiation time and it is fluctuating in the range of 5 to 40 minutes, we are only interested in the possibility to establish a different radiation time period.

- Question: In the technical specification of 22nd item of Lot 2 – Analyzer of Blood Group and Rhesus – you have required to include in the offer all necessary consumables and reagents for 200 tests.

Can you please specify what exact tests would you like to carry out and in which quantities?

Answer: It is preferred to apportion the tests in the following way: 50 tests of each – ABO-Rh/reverse, Rh-hr, ABDD/K,10 tests of each –Cassettes for newborns, DAT/IDAT, Kell, AHG Polyspecific, ORTHO A2 Cells.

- Question: We have a question concerning Digital Universal X-Ray Unit, Lot 1.

Will you accept analog system with Image Intensifier (I.I.) plus digitizer (CR system) for radiography? Or you accept only Digital system with integrate Dynamic Flat Panel Detector?

Answer: According to the technical specifications presented in the tender, both variants are acceptable.