- Question: Can you please provide the indicative dimensions for the required fume hood?

Answer: Dimension for required fume hood:

Internal dimensions: 1400x750x750mm

External dimensions: 1500x820x2200mm deviation not more than 5 %.

- Question: Do you require a chemical or a laminated flow hood? According to our interpretation, the bid technical specifications refer to a chemical hood but in this case the antibacterial powder coating would not be necessary.

Answer: The required unit is a chemical hood that should be applicable both for chemical and medical purposes. That’s why it should feature UV lamp and should have antibacterial powder coating of exterior body.

- Question: In order to quote the proper filters and working surface, can you please indicate which type of materials shall be used under the hood?

Answer: Working surface: solid chemical-resistant physiochemical board. The filter: active carbon filter.

- Question: A foot switch is required; can you please specify for which faucet it shall be used?

Answer: The foot switch should be used to adjust the height of front glass window.