## Лист1
Questionnarie N 1 regarding the project of reconstruction of Haghtanak, Charentsavan-3, Vanadzor-1 and Ashnak substations
N | Question | Reply
1 | What is or what will be the proposed Schedule for shut-downs of the substations? Do you expect total shutdowns or they will be done partially? Is there any sequence preferred by the Employer? | Works should be implemented by stages
2 | Please, could you provide information –Manufacturers and Models- regarding the equipment to be rehabilitated (i.e. Vanadzor-1 Transformers, Charentsavan auxiliary transformer, etc…)? | Attached enclosed the rating name plates of transformers to be rehabilitated.
3 | Is there any geotechnical report of the existing substations sites? This is needed for optimizaton of civil design | Soil investigations and expertizing should be Implemented by the Contractor as per technical documentation.
4 | Could you provide additional drawings of the existing substations, where heights, lenghts and other dimensiones are defined? | I propose to use the existing layouts of substations which are included in Appendices after page 1035.
5 | For the rehabilitation of substations, will be needed a full brand new Communications System, SCADA System, Control and Protection System? | Yes, exept the PLC system
6 | Will be interferences between the line positions of the substations to be rehabilitated with the others they are connected with? | Question is not clear for us, please clarify
7 | In affirmative case; what kind of control and protection equipments are in those existing substations? | Protection panels types are ЭПЗ 1636 and Р433