## Лист1
Question | Reply
1) Due to the different elevation levels of the substations maybe the equipment will be different in terms of Voltage, but all the technical data sheets are the same for the 4 substations, please clarify and provide if possible the exact altitude over the sea level. | The relevant information mentined in Particular Specifications should be considered.
2) Current transformers:
a) Please specify the transformer relation | Please consider data mentioned in technical Shedules regarding the current transformer .
b) Please, specify the current in the secondary.
c) Power and Classes for the secondaries.